## Slide 1: Business Case Analysis (BCA): Questions and Discussion
Weekly Meeting: Wednesday, June 11

## Slide 2: Agenda:
Discuss Plans for BCA:
  Number of Scenarios & Basic Assumptions
  Countries
  End Use Type
  Heat Range Considerations
  Capex and Opex Considerations
Next Steps on BCA

## Slide 3: Initial Assumptions and Questions
Number of scenarios:
  Proposal: Analyze 4 to 5 cases with different assumptions & attributes
Basic assumptions:
  Proposal: Examine two sizes of data center, 20 MW and 100 MW
  Question: What volume of heat (flow rate/second) would a data center of various sizes produce?

## Slide 4: Countries
Our starting assumption is that the BCA will consider at least the following four countries:
  Germany
  Sweden
  Netherlands
  Ireland
Question: Should we add a southern country with a Microsoft data center, such as Spain or Italy?
Market | DC density | Population | Relevant Considerations
Germany | High | High | German Energy Efficiency Act
Sweden | High/low | Not high | Renewable energy and cold climate
Netherlands | Extreme | High | Strained power grid
Ireland | High/medium | Not very high | Strained power grid

## Slide 5: End User Type
Proposal: Analyze 4-5 different categories that encompass a variety of:
Temperature outputs
Heat needs
Levels of technical complexity
Category | Relevant Considerations
Food pasteurization | Higher temperature needs
Food dehydration/commodity drying (e.g., fruit, vegetables) | Lower temperature needs
Beverage pasteurization (e.g. breweries) | Higher temperature needs
Greenhouses or fish/shellfish farming | Lower temperature needs; less technically complicated

## Slide 6: Heat Range Considerations
Heat Temperatures:
Proposal: Per our previous call, we plan to consider:
  Current Microsoft data center heat output — temperature ranges of 20-45 degrees C
  Future scenario — 65+ degrees C (we will make clear this is not Microsoft’s current output)
Heat Pumps:
Proposal: Per our previous call, we assume the offtaker will bear the cost of lifting temperatures with a heat pump.
  We may consider two scenarios: (1) where the F&B facility has to lift the Microsoft temp from 30 to 65 degrees; (2) where Microsoft can provide 65-degree heat (in the future)
  Result will be to say “adding a heat pump will cost $X-Y, and will make it more/less likely that you will be able to find an offtaker for your heat”

## Slide 7: Capex and Opex Considerations
Proposal: We will compare costs vs. savings in three areas:
  At the data center
  In the piping to connect the data center with an offtaker
  At the offtaker
Proposal: To estimate savings, we will analyze power savings at the data centers and natural gas savings at the offtakers. We will make assumptions about the following:
  Proximity for piping costs
  Cost of heat (for the data center and the offtaker)
(Note – we plan to discuss these assumptions in more depth next week)

## Slide 8: Next Steps to begin BCA
Step 1: Finalize proximity analysis
Step 2: Begin investigating other dimensions of heat recovery matters (e.g., heat needs, legislation, etc.)
Step 3: In order to map current trends within data center heat reuse (DC HR), meet with HR leaders such as the following:
Entity | Type | Location | Use case
EcoDataCenter | Data center | Sweden (Falun) | Mainly district heating
HIVE Technologies | Data center | Sweden (Boden) | Similar, but at higher temperatures
Rechenzentrum Ostschweiz | Data center | Switzerland (Gais) | Heats cheese factory w/ heat pumps
WAR3M | HR builder | Sweden (Frövi) | Greenhouses, fish tanks, …
Bytes2Heat | Academic | Germany (Stuttgart) | Focuses on uses for the German market
RISE SICS North | Academic | Sweden (Luleå) | Focuses on uses for the Swedish market